MAINTENANCE PLAN

A.	General Performance Standards

1.	Respond to Resident generated service requests within three (3) days maximum;

2.	Respond to emergency service requests on the same day as received- within a 24  hour maximum;

3.	Adhere to a documented Preventive Maintenance Program;

4.	Inspect all units for Preventive Maintenance annually;

5.	Complete all scheduled Preventive Maintenance inspection in a timely fashion;

6.  	Adopt and adhere to a cyclical painting program;

7. 	Prepare vacant units for occupancy within fourteen (14) working days maximum;

8.	Provide Maintenance Staff with access to all necessary tools, equipment, supplies, and materials.

9.	Assure that problems and discussions regarding Residents will stay in the office and will not be shared with other Residents or general public or friends or family.

B.  	Maintenance Priorities

Maintenance work shall be performed according to the following priority of work order categories:

1.	Emergency Maintenance---these are items that if not repaired promptly could cause injury, loss of life, threaten health or cause serious property damage such as:

a.	Broken gas line or leaks

b.	Fires

c.	Loss of power

d.	Broken Water lines

e.	Exposed electrical lines

f.	Loose ceilings

g.	No heat (when temperature is less than 40 degrees Fahrenheit)

h.	Broken door locks

i.	Other conditions that might cause harm to the Resident or others or damage to property.

Emergency work will be accomplished during the current work  			day.

2.	Resident Service Maintenance—items in this category are all work initiated as a result of Resident requests and include:

a.	Electrical repairs

b.	Plumbing repairs

c.	Broken window panes

d.	Floor tile repair

Resident service Maintenance is to be performed within three 				(3) working days

3.	Routine Maintenance—includes ongoing regularly scheduled Maintenance activities intended to maintain the decent, safe and sanitary nature of the housing and to maintain curb appeal of the property.  Includes:

a.	Extermination and Pest Control

b.	Janitorial and Grounds Cleaning

c.	Trash Collection

d.	Lawncare/Landscaping

4.	Vacant Units Turnover—includes all work necessary to prepare a vacant unit for occupancy by a new Resident.

Units needing minor rehabilitation shall be made ready within   				fourteen (14) calendar days

5.	Planned/Preventive Maintenance— includes activities based on regular, scheduled, and methodical inspection of dwelling units, buildings, equipment, and major systems.  These inspections are designed to maintain Housing Authority property in good repair and to appreciably extend its useful life by assuring repairs are made prior to deterioration and actual breakdown, thereby minimizing both damage and repair costs.

C.	Work Order System

1.	Policies

a.	Maintenance Staff will make no repairs without an authorizing work order form.

b.	Repairs are to be performed within the time frames established in the performance standards (see A)

2.	Procedures

a.	A completed  work order will include

1)	Date and time issued to person or entity to do the work

2)	Unit number

3)	Detailed description of work to be done

4)	Date and time the work is satisfactorily completed

5)	The  parts used to complete the repairs and the cost of the parts

6)	The names and actual time of maintenance employees who performed the work.

7)	Whether the damage was caused by the Resident and the charges to the Resident for Resident-caused damage.

8)	Signature of  intake person

8) 	Signature of Resident on completion of work

b.	Work orders will be issued  by Management and entered into a log which indicates at all times the status of all work orders as to type (emergency, non-emergency) when issued, and when completed.

c.	A non-emergency routine work order is any work order that covers a situation that is not an immediate threat to life, health, safety, or property, or that is unrelated to fire safety.

d. 	Emergency work orders are for situations that pose an immediate threat to health or safety, and take highest priority.  (See B1)

e.  	The majority of work requests initiated by the Housing Authority Staff will be those attributable to preventive, or planned Maintenance, or unit inspections. These work orders are handled as routine work orders.

f. 	Maintenance Staff will routinely pick up work orders at:

a.m. each morning and at                    p.m.

g.	Any time throughout the day that Staff is near or at office, they will check for additional work orders.

h. 	Insofar as possible, Maintenance Staff will be issued parts and supplies needed to complete assigned work orders at the time they are assigned the work order.

i. 	Procedure when entering an unit

1)	Staff will first knock on the door, state the purpose of the visit and politely ask for admittance.

2) 	If no one is home, Staff is to let themselves in, perform the work and/or inspection, and leave a note and secure the unit before leaving.

3)	If the Resident is at home, the Staff will ask if there is anything they missed that requires Maintenance.

- Staff then fills out the Work Order/Inspection form and notes whether each element requiring attention:

a)	Was in good repair

b)	Was clean

5)	Staff makes a note of completed work order or that

additional work is needed and whether items that will require additional work will require additional work orders

j.	Maintenance Staff will make note, while in an unit or on a site, of excessive poor housekeeping habits or dangers, of children left unattended, excessive damages or repeated damages, and infestation. These will be noted on the work order and Management notified immediately.

k.	A work order deferred for modernization is any work order that is combined with similar work items and completed within the current PHAS  assessment year, or will be completed in the following year if there are less than three months remaining before the end of the Housing Authority fiscal year when the work order was generated, under the Housing Authority’s modernization program or other Housing Authority capital improvements program.

l. 	Work orders will be filed in numerical order in a Maintenance file and a copy will be filed in the Resident file

m.	Notice of charges are mailed to the Resident being charged

n. 	Ten percent (10%) of all completed work orders shall be checked by the Maintenance Supervisor for quality of work.

D.  	Assessing Resident Maintenance Charges

1. 	Residents will be assessed a charge for repairs made to their dwelling units in excess of what is required for normal wear and tear and damage which is caused by the Resident, members of the household,  guests, or by neglect.

2. 	Charges will be made according to the Schedule of Other Charges posted on the Authority bulletin board.  If work must be charged that is not listed on the Schedule of charges, the resident will be charged the actual cost of time and materials for the job.

3.	If a Resident calls an unauthorized person to work on their unit or appliances, etc., and it is not an emergency to which a Maintenance Staff is unable to tend, the Resident will be responsible for the cost of that repair

The Housing Authority will NOT be liable for the cost.

E.  	Emergency Maintenance Procedures

1. 	the Maintenance Supervisor will be contacted immediately

2.	Maintenance Supervisor will immediately go to location and verify existence of an emergency situation

3. 	Maintenance Supervisor will determine whether the work can be done in house or requires contract services

4. 	If matter cannot be resolved quickly completed, emergency status can be abated by transferring the Resident away from the emergency situation.

5. 	Emergency work orders will be turned in immediately upon completion.

6. 	If situation is determined not to be an emergency, Resident will be informed that request will be considered as any other routine Resident request.

F. 	Routine Maintenance Procedures (Ongoing)

1.	Extermination

a. 	The Housing Authority extermination Staff will be provided with the proper training, equipment, insecticides, and bait necessary to maintain an efficient and effective pest control program.

b.	The Maintenance Staff will program and schedule extermination (including extermination of cockroaches) requirements for each development.

Schedule is as follows: (insert your own schedule)

c.	The Housing Authority Staff will be furnished approved schedules ten (10) days prior to the first extermination date.

d.	Management is responsible for notifying the Residents and assuring that units are properly prepared.

e.	All developments will be completely treated for pests within a one (1) year cycle.

f.	Unscheduled Pest Extermination

1)	Residents requiring interim extermination will report this to the Housing Authority office.

2)	The Housing Authority Staff will inform the Maintenance Staff that the unit will have an interim extermination by issuing a work order.

3)	Extermination services may be provided on demand on a monthly basis.

g.	Rodent Control

Properties will be baited for rodent extermination on:

 a scheduled annual cycle of ________________

 as necessary

h. 	Management will take precautionary measures to assure that Residents are aware of the antidote for the rodent poison use.

2.	Janitorial and Grounds Cleaning

a.	Sweeping and mopping of Public Areas

All public corridors will be broom swept and mopped daily.   Whenever possible, this operation will be performed in the mornings when Resident traffic is the lightest.

b.	Cleaning Grounds and Landscaped Areas

1)	The policing of landscaped areas is best performed by a worker equipped with a shoulder bag and metal tipped spear or other comparable equipment.  The worker will wear gloves for protection when removing trash from the spear.  Paper, small cardboard cartons, and miscellaneous trash will be speared and deposited in the bag or other approved container.

2)	Litter, such as cigarette butts or matches on lawn and other reas, which are too small to be speared, will be swept up by means of a bushel basket or wheelbarrow for removal.  A square-faced shovel can be used for picking up the debris.

3)	Large pieces of paper and miscellaneous trash, such as clothes hangers, too cumbersome for the bag, will be deposited in the nearest stationary waste basket or dumpster.

4) 	Litter found with names of Residents will be notes and reported to the Housing Authority office so that notices can be mailed to the Resident about the litter and charges, if applicable.

c.	Cleaning of walks, roads, playgrounds, parking areas--

On paved/hard surfaces where cars, benches, and play equipment is prevalent, best results are attained by manual sweeping

3. 	Trash Collection

The Housing Authority will provide periodic trash collection at a frequency required to maintain the development in a sanitary condition with required Resident cooperation.

	Trash collection will be provided by the city on a scheduled basis

	Trash collection will be provided by a private firm under  contact to the Housing Authority on a scheduled basis.  These contracts will be renewed annually.

4. 	Lawncare/Landscaping

a. 	The Housing Authority will keep all elderly units and the Housing Authority office/Maintenance/storage lawns and landscaping areas cut and trimmed during the growing season to enhance the image of the Housing Authority and to provide an attractive setting for its Residents and the general public.

b.	Lawncare

1) 	By March 1 of each year, the Housing Authority Staff and Maintenance Staff will prepare a schedule of all activities by development.

(i.e., frequency of grass cutting, hedge cutting, tree and lawn trimming, flower bed preparation, fertilizing, weed poisons, etc)

2)	By March 15 of each year, Management Staff and Maintenance Supervisor will make certain that supplies are ordered and equipment is stocked and operational.

3)	Damage - In early Spring, the Maintenance Staff will clear debris (tree limbs, large rocks, etc.) From each lawn area and report excessive lawn damage, damage to trees, ornamental plants and shrubs to the Housing Authority office.  The Maintenance Supervisor will inform the Housing Authority office of the location and nature of damage, and schedule corrective work.

4)	Fertilization and Weed Prevention - In the Spring, each lawn area will receive an application of fertilizer and weed prevention.

5)	Mowing - Lawns will be cut approximately every fourteen (14) days depending on the rate of growth.  In the Spring, mowing may be required more frequently.

6)	Watering - Lawns should be watered every day except when limited due to local water shortage conditions, or some other factor which would cause damage to the lawn area (such as immediately after some chemicals have been applied to prevent week growth), or scheduled by the Housing Authority Staff for budget purposes.

c.	Landscaping

1)	Hedges and Shrubs - Ornamental plants should be trimmed on a regular basis.  No plants should touch the foundation of any building.  The shrubs should be cut clear of any stairs or building.  The height and width of any hedge depends on their location and purpose.  (i.e., whether they are decorative or serve as a buffer to street traffic or as a deterrent to window peeping, etc)

2)	Trees - All dead or broken limbs should be cut clean near the trunk of the tree.  No tree limb should touch any building or electrical line or overhang a traffic sign or cut view of street traffic.

3)	Flower Beds - Beds will be cleared of debris and weeded on a regular schedule.  A bed of mulch, tree bark, or stone will be placed to avoid excessive weed infiltration.

4)	Weed Retardant - Where necessary, weed retardant should be administered to those areas that are not conducive to the growth of vegetation.  (i.e., cracks in pathways, along foundations, fence areas, etc.)

5)	Edging - Lawns, walkways, driveways/parking areas, and curbs should be edged to present a neat and attractive appearance each time the lawn is mowed.

5.	Snow Removal (if applicable)

G.	Vacant Unit Turnaround Procedure

1. 	It is the policy of the Housing Authority to prepare vacant units for re-occupancy within a maximum of fourteen (14) working days.

- As soon as a vacant unit is reported to Maintenance, plans will be made to inspect, repair, paint, and clean as needed.

3. 	If the Resident is available, the Resident will certify the condition of the unit on the Unit Inspection form.

4. 	In cases where the Resident vacates without notice, the Maintenance Staff shall perform the move-out inspection within 24 hours of learning of the vacancy.

a. 	Staff will note all items which must be repaired and/or cleaned, and determine any damages to be charged to the Resident’s account.

b. 	Following inspection, the Maintenance Staff shall determine which work orders must be prepared.

5.	Make-Ready Steps

- Secure unit and change the cylinders on the unit doors and mailbox locks.  The keys to the old cylinders should be tried in both the old unit and mailbox locks to ensure their proper operation.  If satisfactory, the old cylinders and keys should be retained for re-use somewhere else at a later date.

- Remove range and refrigerator

 applicable  ( ) not applicable

Clean/repair range and refrigerator thoroughly

c.	Exterminate

d.	Remove debris and clean

e.	Remove old name plates from the mail box, directory, and unit entrance door

f.	Remove all picture hooks, nails, curtain hooks and rods , shower curtain rings, etc.

g.	Plaster as required, especially nail holes

h.	Replace or repair torn shades or blinds for proper operation

(If the shade roller has lost spring tension, shades should be pulled down, removed from brackets, rewound manually, and reinstalled)

i. 	Clean all light fixtures, windows, and shades/blinds

j. 	Replace cracked, broken, missing, or loose ceramic tile

k. 	Repair Floor.  Repair or replace missing asphalt tile.  Mop the floor free of dirt, wax, scuff marks, etc.  Excessive build-up of wax deposits should be removed

l. 	Replace wash basins that have chipped surfaces and cannot be repaired

m. 	Clean plumbing fixtures and cabinets thoroughly; Lemon Oil wood.

n.	Wash the walls and/or paint the unit

o.	Return the clean/repaired range and refrigerator to the unit when leased , if applicable.

p.	Final extermination (if needed)

q.	Completed inspection form and Resident charges will be delivered to the Housing Authority office Staff as soon as unit is ready to be released

6.	Circumstances will occur that will cause the Staff to exceed the 14 working day standard for unit preparation.  These are individual exceptions and will not affect overall Housing Authority performance of this function.  These circumstances shall include the following categories:

a.	Fire damaged units

b.	Developments where there are more than five (5) vacated units in one week

c.	Contract work is necessary

d.	Major rehabilitation of vacant units (such as modernization)

7.	If any one of the following work items is required in the vacant unit, it shall be classified as a major rehabilitation:

a.	Replace roof

b.	Replace/repair entire plumbing system

c.	Replace wall studs

d.	Electrical re-wiring

e.	Replace bathtub

f. 	Replace floor joists in any one room

8.	If any combination of the following work  items is required in a vacant unit, it shall be classified as a major rehabilitation.

(Volume of work is primary determination factor for a major rehabilitation):

a.	Replace 50% or more of interior doors

b.	Replace entrance doors

c.	Replace two or more windows (frames and panes)

d.	Replace gutters and downspout

e.	Replace three or more walls and/or ceilings (plaster and drywall

f.	Replace kitchen cabinets

g.	Install commode sets

h.	Replace radiators, baseboard heating, and connectors

I.	Replace/repair three or more floors

j.	Replace/repair 50% or more floor tile

k.	Replace kitchen sink

l.	Replace bathroom facebow

m.	Repair interior and/or exterior steps

n.	Replace walls that are burst completely through

o.	Replace closet flange

p.	Replace ceramic wall tiles

q.	Replace entire walkways

9.	The Maintenance Staff and Management shall perform the final inspection.

10. 	Following this inspection, Management  Staff shall accept the unit as complete if all work is completed to their satisfaction.  If the unit is not accepted, the Maintenance Staff must see that the desired work is completed and schedule another final inspection.  Acceptance of the unit is at the discretion of Management and it is expected that this discretion shall be exercised reasonably.

H.	Planned and Preventive Maintenance Procedures

1.	Annual Unit Inspections

a.	Each occupied unit will be inspected annually by Management or Maintenance Staff.  Staff will provide a list of units that will be inspected in the upcoming week so that they can be scheduled.  Management Staff will notify the Resident of the inspection by sending a letter at least three (3) days prior to the visit.

b.	The Staff member who is conducting the inspection will use the Authority’s Inspection Form.

c. 	When major work items are found, they should be listed on the Inspection Form in sufficient detail to enable the preparation of a work order.

d. 	Unusual conditions should also be reported to the Housing Authority Staff in writing on the Inspection Form.

e. 	The following items will be checked during the inspection:

1)	Faucets - faucets will be inspected for their general condition (peeling, faded chrome, drips, etc.)  Faucet handles should be adjusted for proper closure.  If proper closure cannot be obtained, the washers on both the hot and cold water spindles will be replaced.  When washers are changed, the faucet seat will also be replaced.  On faucets equipped with non-renewable seats, defective seats will be ground to a smooth surface.

2)	Ranges - ranges will be inspected for oven door closure, knobs, flame adjustments, gas cock adjustments, oven spring tension, and top and oven burner condition.  Defects will be corrected immediately.  If the range is found to be in poor condition, defects will be corrected immediately.  If the range is found to be in poor or dirty condition because of Resident neglect or lack of care, the problem will be reported on the Inspection Form and reported to the Maintenance Staff.

3)	Hardware - entrance door hinges will be lubricated if necessary and checked for spring tension closure.  Unit door locks, knobs, strike plates, and stops will be checked for fastening, alignment, and workability.  Defects will be corrected immediately.  Door cylinders will be checked for proper key way and pinning to the unit master key.  Cabinet hinges, friction catches, and pull handles will be inspected for proper closure, fastening, and alignment.  Defects will be corrected immediately.

4)	Tile Floors/Carpet - General condition of the floor will be noted on the form.  When indentions, cracks, and bumps are found in the tile, the notation must include the color, size, and quantity of materials, and the room where tile replacement is necessary.  Carpet will be inspected for cleanliness, wear and tear, and damages and noted on the inspection form.

5)	Ceramic Tile - the general condition of floor tile will be noted on the form.  When cracked, broken, or missing tile is found, the notation must include the color, quantity, and size of material needed for the repair.

6)	Electrical - switches will be operated to check their workability.  Defective switches and outlets and missing or badly cracked cover plates will be replaced.  Loose fixtures will be tightened.  Fuse cut-out boxes will be inspected for conformity to fusestats and adapters.  Any deviation from these fusestats will be corrected immediately.  If there are indications of tampering with fuse boxes, a notation will be made on the form and a report made to the Maintenance Staff.  Light fixture will be checked for cleanliness and damage and working bulbs.

7)	Plumbing Fixtures - plumbing fixtures will be inspected for fastenings, workability, operation, water tightness and flow to and from the fixtures.  Leaks to and from fixtures, including tubing, valves, bonnets, packing and piping, will be repaired immediately.  Combination sinks, drain boards, bathtubs, and washbasins will be inspected for damage, wear, or chipping areas.  The extent of damage will be recorded on the Inspection Form for disposition by the Maintenance Staff.  Flush tanks, flush tank covers, and toilet bowls will be inspected for cracks and chips and for cleanliness and stains.

If repair is needed, a notation will be made on the Inspection Form and reported to the Maintenance Staff.

- Refrigerators - will be checked for secure door closure, door seals, thermostat operation, freezing capability, and general condition and cleanliness.  If the refrigerator is found to be in poor condition or dirty because of lack of care or abuse, the problem will be noted on the Inspection Form.

9)	Windows - will be checked for broken, cracked, or loose panes, proper operation of window locks, proper operation of the window opening and closure, weatherization (caulking, etc.), and for cleanliness.

10)	Blinds/shades - Blinds will be checked for condition and cleanliness of blades and tapes, for bent or broken blades, for proper operation of blind. Shades will be checked for proper operation of shade and condition and cleanliness.  All repairs and conditions will be noted on the Inspection Form and reported to the Maintenance Staff.

11)	General Unit Condition - The general condition of the entire unit will be noted.  The following items will be checked and a notation entered on the Inspection Form.

a)	Is unit unsanitary, unclean, or unsafe?  If so, give details.

b)	Are there other damages, (walls, ceilings, doors, etc)

c)	Check washing machines for fixed connections to water supply and drainage.

d)	Serial and tag number of range and refrigerator will be recorded for use in the annual inventory

f. 	Completed Inspection Form will be submitted to the Management Staff who is responsible for initiating the work orders arising from the inspection.  These work orders will be categorized as Unit Inspection and their issuance noted on the Inspection Form.

2.	Building and Systems Maintenance

a.	Buildings   - The Maintenance Staff will inspect each building and all facilities at least monthly.  The inspection will include

1) 	the complete building envelope, consisting of roofs, overhangs, exterior walls, windows, screens, doors, railing, and infestation

2) 	all grounds, playground equipment, picnic tables, roads, walks, and the drainage system and lawns(checking for foundation problems or leaks of gas or water).

3)  	Particular attention will be given to evidence of sewer problems, water leaks, gas leaks, and the electrical drops, and gas meter installations.

- The Maintenance Staff will report the conditions found and indicate the exact location of needed repairs or replacements.

b.	HVAC Systems   -   Regular inspections will be made of HVAC systems whether by Housing Authority personnel or contractors.

c.	Equipment   -    Whenever a new piece of equipment is purchased, a file is started including all recommended preventive Maintenance servicing dates.  This information is recorded for scheduling.  A copy of the work order, which confirms the performance of scheduled Maintenance, or the repair, or replacement of any parts, is placed in the file to establish a record of all work performed on the equipment or system.

d.	General Procedure   -    Work to be accomplished quarterly is confirmed by work orders produced on the first of March, June, September, and December.

3.	Motor Vehicles

a.	Scheduled Maintenance

Specified tasks will be performed as required on a daily, weekly, or monthly basis:

Daily- odometer check, visual check

Weekly- (Monday morning before work begins)

Check all fluids, check inside and outside of vehicle

Monthly- Tune-up and oil change as needed

(Maximum is 3,000 miles)

b.	The Maintenance Staff is responsible for the condition of the vehicle and assuring that scheduled Maintenance is performed.  This includes the completion of oil changes, lubrication, tune-ups, or other repairs and Maintenance.  I the work required is beyond the capacity of Staff, outside services will be secured.

4.	Painting

a.	Exteriors

1)	The scheduling of exterior painting is the responsibility of the Maintenance Department and is programmed to accomplish the painting of approximately one-fifth (1/5) of the total inventory each year.

2)	Included in the above inventory are all appendage facilities within each development.  These include the Management/Maintenance building, recreation building, pump and meter structures, benches, and signs.

3)	Painting will be accomplished between cycles if it becomes necessary due to fire damage, hail, graffiti,  or other unavoidable circumstances.

4)	Residents, unless employed to do so by the Housing Authority, are not to apply paint in any manner to building exteriors.  Should they do so, they will be responsible for the restoration of the property as directed by the Housing Authority.

b.	Interiors

1)	The condition of the interior paint finish of each unit will be inspected when vacated and a unit will be re-painted as necessary prior to occupancy to bring it to a standard of good property Maintenance.

2)	The interior of occupied units will be painted according to the cycle painting standard or as soon as feasible.  Painting will be done at intervals no longer than every five (5) years for family units; every seven (7) years for elderly units.

3)	Interior of Management/Maintenance facilities will be painted as necessary but at least every 5 years.

I.	Maintenance Staff Training

It is the intention of the Housing Authority’s Maintenance Department to have a qualified, well-trained work force.  Its goal is to ensure that every member of the department is thoroughly trained in his/her job skill in order to perform his/her mission in a timely and efficient manner.