## Sheet1
UNIT NUMBER OR ADDRESS
| OK | NO
BATHROOM
No leaks in tub, lavatory & shower head
Stopper present in lavatory and tub
Diverter to shower operable
Toilet seat not damaged and tight
Exhaust fan operable
No clogged or slow drains
CALL FOR AID
Strings not tied up.
Strings reach down to baseboard
Strings not behind furniture
Light and buzzer on front porch operable
CEILINGS
No cracks or holes
No missing paint over 1 square foot
No water stains
DOORS
No light around entry doors
Weatherstripping around doors not damaged
All doors close and latch propertly
All door locks work properly
No double keyed locks on any door
Screen door much be fully functioning
No missing doors
EGRESS
Outside entry doors must be unblocked
One window in bedroom must be unblocked
ELECTRICAL
All GFI outlets function
Access to breaker box not blocked
No gaps or missing breakers in breaker box
No emptly sockets in light fixtures
No rust inside the enclosure
FLOORS
No missing/damaged tiles over 5 percent of flooring
FLAMABLES
No flamables materials in hvac, water heater closets or oven
GARBAGE AND LITTER
No excess garbage or litter (especially on porches)
HOT WATER HEATER
No rust/corrosion on fittings
Chimney in alignment
Pressure relief pipe attached
Pressure relief pipe goes to withing 18 inches of floor
Not leaking
HVAC
Chimney in alignment
Cover on unit
INFESTATION
No live/dead cockroaches or mice
No cockroach or mice droppings (this occurs primarlity
under kitchen sink and hvac and water heater closets)
KITCHEN
No leaks around faucet handles or under sink
All stove top burners light without the use of a match
Oven must light without the use of a match
Refrigerator gasket not damaged
Vent a Hood operates
Vent a Hood has filter and has no blockage
No clogged or slow drains
No damaged or missing cabinet drawers or cabinets
LAUNDRY AREA
Dryer hose properly vented
LIGHTING
All permanent light fixtures are operable
MOLD/MILDEW
Zero mildew. Primarily found in bathroom, hvac closet
water heater closet and around bedroom windows.
OUTLET AND SWITCHES
No missing covers
No cracked (even hairline) covers
SHARP EDGES
No broken mirrors, light globes, windows or any other sharp edge
SMOKE DETECTORS
Must be present and operable
STAIRS
No loose handrails
WALLS
No cracks or holes in wall
No missing paint for over 1 square foot
No water stains
WINDOWS
All window must remain open on their own after raising
All locks on windows must function
No cracked, broken or missing panes
No fogging in thermopane windows